## Fixture specification sheet
Line | Floor | Location | Info | Proposed action | Hours of operation | Item Quantity | Lamps per fixture | # of lamps | Watts before | Watts after | Saved
1 | 1 | Clerk | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 4 | 2 | 8 | 218 | 124 | 94
2 | 1 | Court | Retrofit Lighting | A 2x4 4 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 10 | 4 | 40 | 1090 | 620 | 470
3 | 1 | Justice | Retrofit Lighting | A 2x4 4 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 2 | 4 | 8 | 218 | 124 | 94
4 | 1 | Copy | Retrofit Lighting | A 2x4 4 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 1 | 4 | 4 | 109 | 62 | 47
5 | 1 | Copy | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 1 | 2 | 2 | 54.5 | 31 | 23.5
6 | 1 | Rest Room | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 1 | 2 | 2 | 54.5 | 31 | 23.5
7 | 1 | Kitchen | Retrofit Lighting | A 2x4 4 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 3 | 4 | 12 | 327 | 186 | 141
8 | 1 | Kitchen | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 1 | 2 | 2 | 54.5 | 31 | 23.5
9 | 1 | Conference | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 8 | 2 | 16 | 436 | 248 | 188
10 | 1 | Supervisor | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 4 | 2 | 8 | 218 | 124 | 94
11 | 1 | Zoning | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 8 | 2 | 16 | 436 | 248 | 188
12 | 1 | Room 11 | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 5 | 2 | 10 | 272.5 | 155 | 117.5
13 | 1 | Hallway | Retrofit Lighting | A 60watt incandescent Fixture Relamp to (1) LED surface mount 22 watts | 2650 | 8 | 1 | 8 | 480 | 176 | 304 | This had a 20, 20 , 13 compact fluorescent. Both 20's were burnt out.
14 | 2 | Stairs | Retrofit Lighting | A 60watt incandescent Fixture Relamp to (1) LED surface mount 22 watts | 2650 | 3 | 1 | 3 | 180 | 66 | 114
15 | 2 | Youth | Retrofit Lighting | A 2x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 8 | 4 | 32 | 872 | 496 | 376
16 | 2 | Youth | Retrofit Lighting | Exit sign (1) 40w incandescent Install LED Exit Sign w/battery back-up | 8760 | 1 | 1 | 1 | 40 | 8 | 32
17 | 2 | Storage Room | Retrofit Lighting | A 1x4 2 lamp T8 NP Fluorescent Fixture Relamp to 2-48" LED T-8 with Reduced Power HE elec. Balast | 2650 | 4 | 2 | 8 | 218 | 124 | 94
|  |  |  | Total number of linear LED lamps |  |  |  | 159
|  |  |  | Cost for Linear LED (ID Booth) each & Total | 8.3 | each |  | 1319.7 | Total
|  |  |  | Total number of surface mount LED |  |  |  | 11
|  |  |  | Cost for surface mount LED (Lowes) | 40 | each |  | 440 | Total
|  |  |  | Total cost |  |  |  | 1759.7
Note on F1: rmarino: This is an annual estimate, arrived at as follows: For all lighting execpt the Exit sign (line 32), assumed lights are turned on for 8 hrs /day, 5 days / week, plus 3 hrs on a weekend day, plus 8 hrs per week of night meetings; 52 weeks / yr For the Exit sign lighting, assume it is on 24/7; 52 weeks /yr

## Supporting data
Four lamp fixture test July 20, 2020
watts before | watts after | watts saved
109 | 62 | 47
Per lamp
27.25 | 15.5 | 11.75
Linear LED
Part Number | Description
13T8/MAS/48-835IFDIM | 13W 48" T* 35K 2000LMN 473934
15 WATT T* LED 48" 3500K
Surface Mount LED
76075 | GEL JORDAN LED 11 - inch BN F
22 watt

## LED lamps cost quote
Quote for LED lamps for town hall replacement project
Received by Michael Boggs July 14, 2020